Non-conformity Handling Sheet

w/ Corrective Action Report

The following section will be filled in by IOS:

| Report No.: | SCAR_Trolley_20221122 |  |  |
| --- | --- | --- | --- |
| Originator: (who fills general information) | Hua Xie | Date: (yyyy/mm/dd) | 2022/11/22 |
| Product Family: | Trolley / IS Voyager | Reference: (SR#/PLI#/CAPA#) | CAS-4819516-S8B5D9 |
| Supplier: | Well-Tech Technologies (Changzhou) Co., Ltd. | Contact Name: | Li Jianyang |
| Description of Non-conformity |  |  |  |
| Problem: (what needs to be corrected) | OOB (out of box) Issue Missing 8 screws: (4) M4x12 index 2, and (4) M4x20 index 4 in package. |  |  |
| Identification: (batch#/lot#/SN) | 2021-09 |  |  |

The following section will be filled in by supplier or the report containing the root cause analysis and CAPA actions provided by supplier with signature is attached.

| Reported by: | Li Jianyang | Date: (yyyy/mm/dd) | 2022/11/28 |
| --- | --- | --- | --- |
| 1. Problem Description |  |  |  |
| What (what the problem is about from supplier side) | 附件缺失 Missing accessory parts |  |  |
| How (how it happens, how is explained) | 漏配 Missing screws when packing |  |  |
| When (when it was originated) | 2022/11/22 |  |  |
| Where (In which machine, which areas) | NA |  |  |
| How Much Impacted (Lot#/SN of products impacted) | NA |  |  |
| 2. Containment Actions (Summary of provisional actions that suspend the effects of the problem avoiding consecutive claims of non-conformity) |  |  |  |
| 伟泰库存“0” Zero inventory in Well-Tech, so containment action is not necessary. |  |  |  |
| 3. Investigation and Root Cause Analysis (Identification of original causes) |  |  |  |
| - 作业疏忽，导致漏配附件 Operation mistake leaded to missing accessory parts - 检查没有一一核对，造成不良流出Packing inspection was not well controlled, and caused the issue |  |  |  |
| 4.Corrective Action (Actions directed to eliminate the root cause into an efficient and long-term way) |  |  |  |
| 对作业员/检验员培训，按照SOP/SIP配料、检查. Train the operators and QC to follow SOP/SIP to conduct packing and inspection. Training record and materials used are as below. |  |  |  |
| 5. Recurrence Prevention Action (Action preventing the root causes like this from originating again) |  |  |  |
| 制作附件检查清单，要求op&ip按照清单一一核对/画“√”，检查完成签字 Created a checklist for the trolley attachment. OP & IP are asked to use the checklist and record √ for each item. |  |  |  |
| Signature: Li Jianyang Date: 2022/11/29 |  |  |  |